Questionnaire №_____for measuring current transformers of TOGP series

Postal address and buyer’s details:

Customer_______________________________________________________________________________________________

Town code/telephone ________________________________

Fax_______________________________________________

Name of the director of the plant ____________________________________________________

Place of installation ___________________________________

Gas-filled current transformers TOGP are of fire- and explosion-proof version, they are intended for signal transmission of measuring information to measuring devices and devices of protection and control in outdoor alternating current switchgears with industrial frequency for 500kV rated voltage.

| № | Parameters | Indicate parameter |
| --- | --- | --- |
| 1 | Rated voltage, kV | 500 |
| 2 | Rated primary current, А a) with switching current transformer transformation ratio1) 150-300-600; 200-400-800; 300-600-1200; 400-800-1600; 500-1000-2000; 600-1200-2400; b) without switching current transformer transformation ratio indicate required value |  |
| 3 | short-time withstand current/dynamic ability, kA 25; 31,5; 40; 63/64; 80; 102; 160 |  |
|  | Parameters of secondary windings2) Notes to questionnaire: - rated secondary current, А 1 or 5 - windings’ accuracy class for measuring and record 0,2S; 0,2; 0,5S; 0,5 - protection windings’ accuracy class; 5P; 10Р - rated burden (capacity), VA: with load ratio cosφ=1:1;2;2,5 with load ration cosφ=0,8:3;5;10;15;20 25;30;50;60;75 - safety factor: 5; 10; 15 Winding №1 Winding №2 Secondary current, А Accuracy class Secondary burden, VA Safety factor Winding №3 Winding №4 Winding №5 Winding №6 Secondary current, А Accuracy class Secondary burden, VA Maximum multiplicity - maximum multiplicity: 10;15; 20;25; 30; 40 |  |
| 5 | Climatic version as per GOST 15150-69 | ⁪ U1* (from -45ºC up to +40ºC |  |
|  |  | ⁪ UKHL1 (from -60ºC up to+40ºC) |  |
| 6 | Version of external insulation: | Degree of insulation pollution and Creepage distance as per GOST 9920-89; |  |
|  | Polymer (light-grey) | ⁪ III (2,5 cm/kV) |  |
| 7 | Metal structure (height is indicated additionally3) | ⁪YES | ⁪NO |  |
|  |  | ⁪ Support H=2500mm |  |  |
| 8 | Additional service equipment: ⁪ - leakage detector ⁪ - Gas-filling set |  |
| 9 | Number of order, pcs |  |
| Notes: |

1. Switching current transformer transformation ratio is performed on primary contact terminal by means of switching contact jumpers. Changing current transformer transformation ratio is carried out in 1:2:4 proportions.

2. It is possible to manufacture current transformer with secondary winding having different values of primary and secondary current and it is possible to manufacture winding of record and measuring with extended range of measurement up to 200% rated current. At the time of order for winding with additional electrical lead, numbers and current transformer transformation ratio on electrical lead are conformed additionally.

3.   Standard height of metal structures H=2500mm. (The rest heights is subject for confirmation additionally)

Additional requirements

# Text boxes

Manufacturer:

CJSC «ZETO–Gas Technologies»

182100 Pskov region,

Velikie Luki, pr. Oktyabrsky, 79

Telephone (81153) 6-38-19; 6-38-26

Fax (81153) 6-38-45, 6-37-80