Questionnaire №_____for supply of measuring voltage transformer of ZNOG-110 series

Postal address and buyer’s details:

Customer_______________________________________________________________________________________________

Town code/telephone ________________________________

Fax_______________________________________________

Name of the director of the plant ____________________________________________________

Place of installation ___________________________________

SF6 inductance grounded voltage transformers of ZNOG-110 series are of fire- and explosion-proof version, they are intended for signal transmission of measuring information to measuring devices and devices of protection and control in outdoor and indoor alternating current switchgears with 50 Hz frequency for 110kV rated voltage.

Main characteristics for order are given in the table.

| № | Parameters | Parameter’s value |
| --- | --- | --- |
| 1 | Rated primary current, kV | 110/ |
| 2. | Maximum operating value, kV | 126/ |
| 3 | Rated voltage of main secondary windings, kV | 110/ |
| 4 | Rated voltage of auxiliary secondary winding, V | 100 |
| 5 | Notes to the questionnaire: Standard version 1 - three-winding transformer Accuracy class Rated burden, VA 0,2; 0,5; 1 150; 200; 300 0,2; 0,5; 1 150; 200; 300 3P; 6P Up to 1000 Standard version 2 – double-winding transformer Accuracy class Rated burden, VA 0,2; 0,5; 1 250; 400; 600 3P; 6P Up to 1000 Parameters of secondary winding as per the order are selected from the table: Accuracy class Rated burden, VA 0,2 Up to 150 (200)* 0,5 Up to 200 (400)* 1 Up to 300 (600)* 3P; 6P Up to 1000 *values for double-wending transformer | ⁪ standard version 1 Accuracy class Secondary burden a1x1 a2x2 aдxд a1x1 a2x2 aдxд 0,2 - - 150 - - - 0,5 - - 200 - - - 3P - - 100 ⁪ Standard version 2 Accuracy class Secondary burden a1x1 aдxд a1x1 aдxд 0,2 - 250 - - 3P - 1000 Version as per the order Accuracy class Secondary burden a1x1 a2x2 aдxд a1x1 a2x2 aдxд - - - - - - - - - - - - Ultimate transformers capacity, VA - 1600 |
| 6 | Climatic version as per GOST 15150-69; | ⁪ - U1 (-45°C…40°C) ⁪ UKHL1 (-60°C…40°C) |
| 7 | Version of external insulation: | Degree of insulation pollution and Creepage distance as per GOST 9920-89; |
|  | Porcelain (⁪ - light-grey / ⁪ - brown) | ⁪ III (2,5 sm/kV) ⁪ IV (3,1 sm/kV) |
|  | Polymer (⁪ - light-grey) | ⁪ IV (3,1 sm/kV) |
| 8 | Metal structure (height is indicated additionally), block for installation of three voltage transformers for installation of one voltage transformer: | ⁪ YES ⁪ - block of voltage transformer ⁪ - support ⁪ NO |
| 9 | Additional service equipment: ⁪ - leakage detector ⁪ - Gas-filling set |
| 10 | Number of orders |  |

Notes:

- At the time of order for transformers with parameters which are differ from the standard, it is necessary to conform with the manufacturing plant  concerning the possibility of manufacturing, price and terms of delivery;

- For all  non-stipulated values the transformers must comply to GOST 1983-2001.

Additional requirements

# Text boxes

Manufacturer:

CJSC «ZETO–Gas Technologies»

182100 Pskov region,

Velikie Luki, pr. Oktyabrsky, 79

Telephone (81153) 6-38-19; 6-38-26

Fax (81153) 6-38-45, 6-37-80